## Slide 1
-
:
Transformer:
Rated Power: 400 kVA
Short Circuit Voltage: 6 %
Short Circuit Voltage (real part): 1.425 %
Open Loop Losses: 0.3375 %
Iron Losses: 1.35 kW